## Sheet1
proximity sensor name | proximity sensor features | proximity sensor link | Resolution | Normalized | Range | Normalized | Absolute Response | Normalized | Total Score
STK3311 | Immunity to 50Hz/60Hz fluorescent light flicker;Ambient IR noise cancellation ;940nm LED for STK3311-A. | http://pro0fc108.hkpic1.websiteonline.cn/upload/STK3311-ADatasheetv1.pdf | 16 | 0.66667 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.67506
ltr559 | dynamic range (0.01 lux to 64,000 lux);proximity within a short range of ~5cm;IR/UV-filtering;50.60Hz flicker rejection | https://media.digikey.com/pdf/Data%20Sheets/Pimoroni%20PDFs/PIM413_Web.pdf | 13.3333 | 0.44444 | 50 | 0 | 131.4286 | 0.48352 | 0.30932
AP3212C | High ambient light suppression;Cross talk compensation | http://www.dyna-image.com/upfiles/english/en_product_caty01430126515.pdf | 10 | 0.16667 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.50839
TMD2725 | Integrated IR LED;UV / IR blocking filters; | https://ams.com/documents/20143/36005/TMD2725_DS000462_5-00.pdf/3893fccd-caa0-9ee9-dd80-dac46be184e9 | 8 | 0 | 93.75 | 0.875 | 160 | 0.92308 | 0.59936
ltr578 | Ambient Light Suppression :100klux; | https://optoelectronics.liteon.com/upload/download/DS86-2016-0034/LTR-578ALS-01_FINAL_DS_V1.4.PDF | 20 | 1 | 100 | 1 | 131.4286 | 0.48352 | 0.82784
apds9930 | targeted specifically towards near field proximity applications;Integrated IR LED and Synchronous LED Driver;provided with an 850 nm IR LED. | https://www.mouser.com/ds/2/678/V02-3190EN_DS_APDS-9930_2015-11-13-909296.pdf | 13.3333 | 0.44444 | 100 | 1 | 131.4286 | 0.48352 | 0.64265
TMD2772 | Reduces the proximity noise;Prevents false proximity detection in bright light ;Reduced proximity count variation ; | https://www.mouser.com/datasheet/2/588/TMD2772_TMD2772WA_DS000310_2-00-1512738.pdf | 13.3333 | 0.44444 | 100 | 1 | 100 | 0 | 0.48148
APDS9900/RPR400 | targeted specifically towards near field proximity applications;Integrated IR LED and Synchronous LED Driver;provided with an 850 nm IR LED. | http://www.electronicaestudio.com/docs/SHT-9900.pdf | 13.3333 | 0.44444 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.60099
ISL29030 | IR LED Driver with I2C Programmable Sink Currents;Ambient IR Noise Cancellation (Including Sunlight) | https://www.renesas.com/sg/en/www/doc/datasheet/isl29030.pdf | 8 | 0 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.45284
SFH7743 | Short range proximity detector; | https://media.digikey.com/pdf/Data%20Sheets/Osram%20PDFs/SFH7743.pdf | 13.3333 | 0.44444 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.60099
TMG-3993 | Ambient Light Rejection;Proximity Offset Compensation;Saturation Indicator bit;LED pulse width:4us | https://ams.com/documents/20143/36005/TMG3993_DS000343_3-00.pdf/d8a3d3b8-e25e-fde9-d3dd-e0cfeb53745f | 13.3333 | 0.44444 | 93.75 | 0.875 | 132 | 0.49231 | 0.60392
STK3013 | High sensitivity wavelength range for PS;Low noise design ;Ambient IR noise cancellation;Immunity to 50Hz/60Hz fluorescent light flicker | http://pro0fc108.hkpic1.websiteonline.cn/upload/s4rn.pdf | 16 | 0.66667 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.67506
TMD3725 | 1.0mm spacing between proximity IR LED and sensor;UV / IR blocking filters;Noise:1% | https://ams.com/documents/20143/36005/TMD3725_DS000567_3-00.pdf/e11000a0-ff36-1c3c-da04-ff3e1fa7379f | 8 | 0 | 93.75 | 0.875 | 160 | 0.92308 | 0.59936
TMD3782 | UV / IR blocking filters;Very High Sensitivity;Proximity Response:510 counts | https://www.mouser.com/ds/2/588/TMD3782_Datasheet_EN_v2-475385.pdf | 16 | 0.66667 | 100 | 1 | 165 | 1 | 0.88889
TMD26711 | Integrated IR LED and Synchronous LED Driver; | https://www.mouser.com/datasheet/2/588/TMD2671_DS000176_2-00-1513333.pdf | 16 | 0.66667 | 100 | 1 | 100 | 0 | 0.55556
APDS-9910 | Eliminates “Factory Calibration” of Prox;Fully Calibrated to 100 mm Detection;Eliminates “Factory Calibration” of Prox;850nm IR LED | https://docs.broadcom.com/docs/AV02-2867EN | 13.3333 | 0.44444 | 100 | 1 | 131.4286 | 0.48352 | 0.64265
AP3212C | High ambient light suppression;Cross talk compensation | http://www.dyna-image.com/upfiles/english/en_product_caty01430126515.pdf | 10 | 0.16667 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.50839
TMD2620 | Noise:1%; | https://ams.com/documents/20143/36005/TMD2620_DS000461_2-00.pdf/2e24acb0-efbe-9ce6-e8c0-0eb1ee67938b | 8 | 0 | 100 | 1 | 103 | 0.046154 | 0.34872
TSL2771 | Operating Distanc:18 inches;LED pulse width :7.3 us; | https://www.mouser.it/datasheet/2/588/TSL2771_DS000105_3-00-1512332.pdf | 16 | 0.66667 | 93.75 | 0.875 | 131.4286 | 0.48352 | 0.67506